## Substation Inspection
SUBSTATION INSPECTION REPORT
Station Information | Company Information
Substation Name: | Company Name:
Location: | Inspector Name:
Substation ID: | Inspection Date:
Voltage Level: | Report Number:
1. TRANSFORMER INSPECTION
Inspection Item |  | Status |  | Notes
Transformer enclosure condition
Oil level and condition
Cooling system condition
Bushings condition
Temperature indicators
Pressure relief devices
Noise and vibration levels
2. CIRCUIT BREAKER INSPECTION
Inspection Item |  | Status |  | Notes
Breaker enclosure condition
Operating mechanism
Insulation condition
Contact condition
SF6/oil level (if applicable)
Control wiring condition
Operation counter readings
3. PROTECTION SYSTEM INSPECTION
Inspection Item |  | Status |  | Notes
Relay condition and operation
CT/PT condition
Control panel condition
Alarm system operation
Battery and charger condition
Protection scheme verification
Communication system
4. GROUNDING SYSTEM INSPECTION
Inspection Item | Measurement/Status |  | Notes
Ground grid condition
Equipment grounding connections
Ground resistance measurements
Fence grounding
Lightning protection system
5. VIOLATIONS AND NOTES
6. RECOMMENDATIONS AND CONCLUSION
7. REFERENCE STANDARDS
Saudi Electrical Code (SBC 401)
Saudi Engineering Authority Requirements
Contractor Platform Requirements
Inspector Signature: | Client Signature: